## Slide 1
CAMPUS ENERGY
Make the 4 PM spike visible
A data-integration and load-imputation prototype that turns monthly-only building records into a testable view of the campus evening peak.
AI Synergy Hackathon 2026
The Missing Meter
Solar output falls as evening demand rises
Notes: SPOKEN SCRIPT At 4 PM, campus demand starts rising while rooftop solar generation falls. Our prototype begins with incomplete building records and creates the evidence pipeline needed to understand the 4 to 8 PM window before anyone proposes an intervention.
JUDGE QUESTION PRE-EMPTED What problem are you solving, in one sentence?
SOURCE / DISCLOSURE Repository README: Campus Energy – Prototype 1; src/generate_data.py and notebooks/01_baseline_eda.ipynb are the implementation references. No model-accuracy or savings figures are claimed.

## Slide 2
02
The missing meter creates an operational blind spot
A monthly total explains the size of the bill, but it cannot reveal the timing or source of an evening demand spike.
What facilities teams see today
Metered buildings
Hourly readings reveal daily load shape
Missing-meter buildings
One monthly total, with no peak-hour trace
What they need at 4–8 PM
A building-level demand profile
that identifies late-afternoon load
and gives facilities a basis for targeted planning.
The gap
AI Synergy Hackathon 2026 | Campus Energy Prototype
2 / 8
Notes: SPOKEN SCRIPT A monthly bill can reconcile total energy used, but it cannot identify whether a hostel, lecture hall, or office causes demand at 4:15 PM. Without timing and building attribution, facilities cannot confidently target peak-management action.
JUDGE QUESTION PRE-EMPTED Why are monthly bills insufficient?
SOURCE / DISCLOSURE Repository README: Campus Energy – Prototype 1; src/generate_data.py and notebooks/01_baseline_eda.ipynb are the implementation references. No model-accuracy or savings figures are claimed.

## Slide 3
03
The prototype generates evidence for the 4–8 PM question
The repository provides a controlled test bed so the team can inspect missing data and peak timing before a campus pilot.
Synthetic data generator
src/generate_data.py
Hourly kWh for five buildings across June–August
Random multi-day gaps mimic incomplete feeds
True monthly totals saved separately for checking
Baseline EDA notebook
notebooks/01_baseline_eda.ipynb
Resamples the time series for inspection
Focuses analysis on the 4–8 PM window
Produces a demand-spike chart before modeling
Jun
Jul
Aug
Synthetic test window
AI Synergy Hackathon 2026 | Campus Energy Prototype
3 / 8
Notes: SPOKEN SCRIPT We built a controlled data pipeline first: five buildings, hourly readings across June to August, deliberate multi-day gaps, and separate true monthly totals. The baseline EDA notebook resamples that time series and makes the 4 to 8 PM spike the specific question the team can inspect.
JUDGE QUESTION PRE-EMPTED Is there real evidence behind the story, or only a concept?
SOURCE / DISCLOSURE Repository README: Campus Energy – Prototype 1; src/generate_data.py and notebooks/01_baseline_eda.ipynb are the implementation references. No model-accuracy or savings figures are claimed.

## Slide 4
04
The engine aligns what is measured with what is billed
The current prototype implements the input and analysis layer. The imputation model is a defined next step, not a claimed production result.
1
Interval readings
Modern-meter buildings
then
2
Monthly totals
Missing-meter buildings
then
3
Time and context
Calendar, weather, typology
then
4
Estimated profile
Future imputation output
Implemented now
Synthetic hourly inputs, missing spans, monthly-total reference, and 4–8 PM EDA
Proposed next
Train and validate an imputation model constrained by known billing totals
AI Synergy Hackathon 2026 | Campus Energy Prototype
4 / 8
Notes: SPOKEN SCRIPT Our design combines detailed interval data with monthly totals that anchor buildings without a modern meter. The repository currently implements synthetic data and baseline analysis; the model-based imputation block is deliberately presented as the next build step rather than a completed AI claim.
JUDGE QUESTION PRE-EMPTED Have you actually built the AI model?
SOURCE / DISCLOSURE Repository README: Campus Energy – Prototype 1; src/generate_data.py and notebooks/01_baseline_eda.ipynb are the implementation references. No model-accuracy or savings figures are claimed.

## Slide 5
05
A short demo proves the data path, then frames the decision
Show the existing generator and notebook live, then explain the imputation workflow without simulating an accuracy result.
Live demo sequence
01
Run generator
Creates raw CSV inputs
02
Open notebook
Resample and inspect demand
03
Focus on 4–8 PM
Show the peak window
04
Explain next model step
Infer missing intervals within billing constraints
Screenshot to show
notebooks/01_baseline_eda.ipynb
The actual 4–8 PM demand-spike chart
Show the repository output, then point to
missing spans that a future model will infer.
AI Synergy Hackathon 2026 | Campus Energy Prototype
5 / 8
Notes: SPOKEN SCRIPT The fastest credible demo follows the existing path: generate the synthetic raw CSV files, open the baseline notebook, and focus the audience on its 4 to 8 PM demand-spike view. Then point to the intentional missing spans and explain that the next model will infer an interval profile while respecting monthly billing totals.
JUDGE QUESTION PRE-EMPTED Can you demonstrate something working right now?
SOURCE / DISCLOSURE Repository README: Campus Energy – Prototype 1; src/generate_data.py and notebooks/01_baseline_eda.ipynb are the implementation references. No model-accuracy or savings figures are claimed.

## Slide 6
06
The monthly bill acts as a guardrail for future AI estimates
Any estimated interval profile must reconcile to the known monthly total before facilities can use it for peak analysis.
Inference principle
Learn daily load shapes from comparable metered buildings and shared context such as schedules, weather, and building type.
Constrain every estimated profile so the completed month still matches the bill.
Validation plan
1
Hide known intervals and reconstruct them
2
Compare predictions with held-out meter data
3
Report error by building and peak window
This is a validation protocol, not an accuracy result. The current repository contains no published model score.
AI Synergy Hackathon 2026 | Campus Energy Prototype
6 / 8
Notes: SPOKEN SCRIPT The bill is not discarded. It becomes a hard reconciliation check that prevents a plausible-looking daily profile from drifting away from known monthly consumption. We will test the method by hiding selected intervals from known meters, reconstructing them, and comparing the estimate with held-out meter readings by building and peak window.
JUDGE QUESTION PRE-EMPTED How will you know the AI is reliable?
SOURCE / DISCLOSURE Repository README: Campus Energy – Prototype 1; src/generate_data.py and notebooks/01_baseline_eda.ipynb are the implementation references. No model-accuracy or savings figures are claimed.

## Slide 7
07
Visibility supports better peak decisions before controls are automated
The immediate value is a defensible 4–8 PM building view. Any scheduling or control action remains subject to facilities approval.
Operations
Locate buildings that likely drive the evening peak
Planning
Prioritize audits, schedules, and metering upgrades
Future controls
Test load shifting only after validation and human review
The prototype does not claim energy savings, automated load shedding, or a deployed campus control system.
AI Synergy Hackathon 2026 | Campus Energy Prototype
7 / 8
Notes: SPOKEN SCRIPT The immediate product is a more defensible view of the peak, rather than automatic switching. A facilities team can use it to prioritize investigation, schedule reviews, and metering upgrades; any load-control trial belongs in a later stage with facilities approval.
JUDGE QUESTION PRE-EMPTED What value exists before deployment or automation?
SOURCE / DISCLOSURE Repository README: Campus Energy – Prototype 1; src/generate_data.py and notebooks/01_baseline_eda.ipynb are the implementation references. No model-accuracy or savings figures are claimed.

## Slide 8
Next steps
Move from a synthetic test bed to a validated campus pilot with real meter and billing records
01
Pilot inputs
Secure interval data, bills, and building metadata
02
Model validation
Run held-out interval tests and billing reconciliation
03
Facilities review
Translate validated peaks into approved operational trials
Ask: help us validate missing-meter inference against real campus data before we recommend peak-shifting actions.
Thank you
Notes: SPOKEN SCRIPT The next milestone is not a bigger dashboard. It is a small, governed validation pilot that combines real interval readings, monthly bills, and building metadata. We are asking for the data access required to prove the inference before we recommend scheduling changes or other operational actions.
JUDGE QUESTION PRE-EMPTED What will you do after the hackathon, and what do you need?
SOURCE / DISCLOSURE Repository README: Campus Energy – Prototype 1; src/generate_data.py and notebooks/01_baseline_eda.ipynb are the implementation references. No model-accuracy or savings figures are claimed.